INSTRUCTIONS

Complete this form in its entirety. Shade each applicable bubble in pen or pencil. The EXPLANATION OF CODE REFERENCES is for informational purposes only and is subject to change. The current Florida Administrative Code (64E-9 & 10) or Florida Building Code (FBC) 454.1 should be consulted for the official version of these references.

EXPLANATION OF CODE REFERENCES

POOL AREA

1.  Appearance/Algae/Clarity. 64E-9.004(1)(c) & (3); 64E-9.017(1)(c). The pool shall be free from floating debris, sediment, dirt, algae. The main drain shall be visible.

2.  Deck/Walkway. 64E-9.004(3) Pool deck areas shall be free from sediment, debris, dirt, standing water, and algae; and refinished as needed to maintain safety/sanitation. Wet decks shall be unobstructed.

3.  Tile/Pool Finish. 64E-9.004(3); 64E-9.017(1)(h). Pool finish and tile shall be maintained in a safe and sanitary condition.

4.  Depth Markers. FBC 454.1.2.3.1. Minimum 4 inch high, permanent, contrasting depth markings must be located on both sides of the pool at the shallow end, slope break, deep point and deep end wall, and every 25 feet. The markers must be installed inside and outside the pool, and have FT and IN abbreviated, or spelled out.

5.  Handrail/Ladder. FBC 454.1.2.5.1 & .5 Handrails must be provided for all pool steps and must be securely anchored in the pool deck and the bottom step. “Figure Four” handrails must be securely anchored in the pool deck and must extend to above the bottom step. Ladders must be provided and must be securely anchored in the pool deck and must rest against the pool wall with a 3 to 6 inch clearance.

6.  Step Markings. FBC 454.1.2.5.3 All step edges must have a 2 inch contrasting marking on the tread and riser (3/4 inch by 2 inch bullnose tile may be substituted) which shall extend the full length of each step and be slip resistant. Tile used on horizontal surfaces of steps, treads, benches, deck, markers and swimouts must be slip resistant.

7.  Suction Outlet Covers. Section 514.0315(1), F.S.; 64E-9.008(3)(a) & (10)(c); 64E-9.017(1)(e) & (g). All suction outlet covers/ grates shall be maintained as properly secured, intact, tested, reported to DOH on Verification form DH4157, and in compliance with the national anti-entrapment standard cited in section 514.0315(1), F.S.

8.  Gutter Grates/Skimmer. FBC 454.1.6.5.3.1 & 2. Gutter drains must be covered by a fully intact grate. Skimmers must have a weir in place, deck cover secured in place and the basket must be in place and clean.

9.  Lighting Pool/Area. 64E-9.008(7). Underwater and outside lighting shall be provided for night swimming in accordance with the FBC, or the pool must be closed at night.

10.  No Diving Markings. FBC 454.1.2.3.1. Areas of the pool which are not part of an approved diving bowl shall have dark contrasting “NO DIVING” markings every 25 feet.

11.  Diving Board. FBC 454.1.2.7. Diving boards must be secured and slip resistant. Required guard rails must be intact. Stanchions must be removed if board is removed.

12.  Pool Cover. 64E-9.008(5). A floating cover/blanket must be secured, or pool must be inaccessible to bathers. Cover/blanket shall not obstruct wet deck when removed.

13.  Pool Side Shower. FBC 454.1.6.2. All outdoor pools must have a rinse shower located on the pool deck within perimeter of the fence.

POOL SAFETY

14.  Life Hook with Pole. 64E-9.008(3). A shepherd’s hook securely attached to a one piece pole not less than 16 feet long must be provided. The life hook must be fully accessible and visible from the pool. Pools over 50 feet in length must have a shepherd’s hook along each of the longer sides of the pool.

15.  Life Ring with Rope. 64E-9.008(3). An 18 inch diameter lifesaving ring with sufficient rope attached to reach all parts of the pool must be provided. The rope must be in good condition, free of frays. The ring must be fully accessible, visible and not tied down or locked. Pools over 50 feet in length must have a lifesaving ring along each of the longer sides of the pool.

16.  Safety Line. 64E-9.008(4); 64E-9.008(12)(g). Pool floors with a slope break must have a safety line mounted 2 feet before the slope break towards the shallow end using cup anchors. The safety line must have visible floats. It may be removed temporarily for lap swimming only while a safety attendant or lifeguard is present.

17.  Rules Posted. 64E-9.004(4); 64E-9.008(6) & (13)(f) Signs shall be maintained legible from the pool deck as approved by the jurisdictional building department addressing: bathing load, pool operation time, no-diving, animals, glass, food/beverages, showering, swimming while ill, swallowing pool water, and additionally for spa pools: temperature, spa use time, minimum age, and vulnerable person caution.

18.  Lifeguard/Instructor/Pool Technician Certification. 64E-9.008(2); 64E-9.018. If lifeguards or swimming instructors are provided, they must be certified by the American Red Cross, YMCA, or other nationally recognized aquatic training program. Swimming instructors must also be first aid and CPR certified; and swimming instructors of developmentally disabled students must also be certified in accordance with section 514.072, F.S. Proof of a certification is required at the pool site. Unless exempt under section 514.075, F.S., pool service technicians shall be certified under a DOH approved course.

# SANITARY FACILITIES

19.  Supplies. 64E-10. Sanitary facilities must be furnished with toilet tissue, soap, single use paper towels or automatic hand-drying device, and waste receptacle.

20.  Clean. 64E-10. Sanitary facilities and floors shall be maintained in a cleaned and disinfected condition.

WATER QUALITY-

21.  Approved Test Kit. 64E-9.004(9). All pools must have an approved test kit on site capable of testing free chlorine (with DPD reagent), combined chlorine, pH, calcium hardness and total alkalinity. Pools utilizing chlorine generators must have a sodium chloride test kit. Pools using quaternary ammonium compounds must have a quaternary ammonium test kit. Pools using chlorine stabilizer must have a cyanuric acid test kit. NSF 50 certified halogen test strips may only be used for an Epsom salt (MgSO4) tank.

22.  Free Chlorine/Bromine. 64E-9.004(1); 64E-9.017(1). Free chlorine level must be between 1-10mg/L (parts per million) in conventional swimming pools, inclusive; or 1½-10 ppm bromine. Spa pools must maintain 2-10 mg/L free chlorine, or 3-10mg/L bromine. The maximum disinfectant level for indoor conventional swimming pools is 5 mg/L chlorine or 6 mg/L bromine. Pool owner must prohibit pool use when water quality is outside these parameters.

23.  pH. 64E-9.004(1); 64E-9.017(1). The pH in all pools shall be maintained between 7.2 and 7.8, inclusive. Pool owner must prohibit pool use when water quality is outside these parameters.

24.  Chlorine Stabilizer. 64E-9.004(1). The concentration of chlorine stabilizer (cyanuric acid) shall not exceed 100 ppm in conventional pools or 40 ppm in spas.

25.  Spa 104°F, ORP, Oils. 64E-9.008(8) & (12). Spa pools have a maximum temperature of 104° F. Spas must have an ORP auto controller to aide in pH and disinfection with water potential between 700 and 850 millivolts, unless spa pool is exempt by age & size. Oils, minerals, and lotions may not be used by patrons.

EQUIPMENT ROOM

26.  Wading Pool: Quick Dump. 64E-9.008(11). All wading pools must have emergency drainage capabilities.

27.  Water Level/Control. 64E-9.004(6); 64E-9.008(13). The pool water level shall be maintained for continuous skimming flow during periods of non-use. A manual and automatic fill device shall be provided and shall discharge into the collector tank.

28.  Disinfection Feeder. 64E-9.008(10)(e); 64E-9.017(1). A properly sized disinfection feeder and/or generator shall be provided. Electrical pumps must be electrically interlocked with the recirculation pump. Feeders/generators must be certified under NSF/ANSI 50.

29.  pH Feeder. 64E-9.008(10)(e); 64E-9.017(1). pH adjustment feeders must be provided on all pools, and must be electrically interlocked with the recirculation pump.

30.  Chemical Container/Labeled. FBC 454.1.6.5.16.2 & .3. Solution reservoirs shall have at least 50 percent storage capacity of the solution pump and shall be labeled.

31.  Filter Pump. 64E-9.008(10).  The filter pump shall be properly sized and operable, at the design flow rate.

32.  Vacuum Cleaner. FBC 454.1.6.5.12. All pools shall have a vacuum cleaning system. (Except for spa and wading pools of 200 square feet or less.)

33.  Flowmeter. 64E-9.008(10)(b). All pools shall have a functional flowmeter capable of reading from 1/2 to 1&1/2 the design flow rate.

34.  Thermometer. 64E-9.008(8). Pools equipped with a heater must have a functional in-line thermometer mounted downstream of the heater outlet.

35.  Pressure/Vacuum Gauges. 64E-9.008(10)(d). All vacuum filter systems shall have a functional vacuum gauge before the pump. All pressure filter systems shall have a functional pressure gauge mounted before and after the filter.

36.  Equipment Room Drainage/Vent/Lighting/Clean. 64E-9.008(10) & (13). Equipment room shall have: Drainage, ventilation, lighting and be clutter free.

37.  Cross Connection. 64E-9.004(l)(a). An air gap must be provided in the fill line and in the waste line. Vacuum breakers shall be provided on all hose bibbs in the sanitary facilities, pool area and equipment room area.

38.  Gas Chlorine: Room/Area. FBC 454.1.6.5.16.1. Pools that utilize gas chlorine must: have a locked chlorine room, continuous forced draft ventilation exhausting at floor level to outside, 30 foot-candles illumination with switch outside the room, scales to weigh the cylinders with all cylinders chained. Area shall have roof and 6 foot chain fence.

39.  Waste Water Disposal. FBC 454.1.6.5.15 Waste water must discharge through an air gap and be disposed of in accordance with local requirements.

40.  D.E. Separator. FBC 454.1.6.5.5.15. Pools with D.E. filters shall be equipped with D.E. separation devices. (Tanks with air bleed/isolation valves and bottom drains)

41.  Other Equipment. 64E-9.008(10). Auxiliary equipment must not interfere with the attainment of the design flow, i.e. ionizers, UV, ozone generators, heaters, etc.

42.  Equipment Change. FBC 454.1.10. All equipment changes must have prior approval from the jurisdictional building department when they have jurisdiction, or the DOH.

43.  Approved Chemicals. 64E-9.004(1)(d). All chemicals used in public pools must meet NSF Standard 60, Drinking Water Treatment Chemicals-Health Effects.

44.  Maintenance Log. 64E-9.004(10). Daily record must be kept for pH and disinfectant residual tested each day the pool is open for use, and weekly for Cyanuric Acid.

45.  Inspection Posted. 64E-9.004(7). Pools requiring membership or admission fee must post the latest DOH pool inspection report in plain view of existing/potential patrons.

46.  Safety-514.0315(2), F.S. 64E-9.008(3)(a) & (10)(c); 64E-9.017(1)(e) & (g). All equipment room anti-entrapment systems shall be installed by a licensed contractor, maintained as functional, tested, reported to DOH on Verification form DH4157, and in compliance with the national anti-entrapment standard cited in section 514.0315(2), F.S. Suction Limiting Vent systems require annual tests; Safety Vacuum Release systems require testing per manufacturer.

47.  Fences/Gates: FBC 454.1.3.1.9; 454.1.5.1 & 2. Pools approved after May 2004 code revision shall have a minimum height fence, with no breaches, and with operable self-closing, self-latching gates. Equipment and chlorine gas area fence/gate shall be secure and locked. Wading and specialty pool fences/gates shall be sustained as installed.

48/49.  Other. Items so marked violate sections of Chapter 64E-9 not listed above, and are explained in the comments section.		Page 2  DH 920 4/16